## Slide 1
Support to centre of EURIKA ~60cm

## Slide 2
Cu cooling pipe to end of snout ~75cm
End of snout to base ~ 57cm

## Slide 3
For horizontal FEEs:
Min distance from end of snout to inner most FEE ~ 92cm
Additional 6cm per extra FEE outwards

## Slide 4
Furthest a DSSSD can go from the base of the snout ~ 54cm (~ 60cm from main Cu pipe).
Limiting factor is kaptons to nnaida5+6 (top of bottom stack). A few more cm can be achieved with other FEEs.

## Slide 5
Distance from DSSSD to base of snout
- with kapton in 4th connector along: ~ 48cm
- with kapton in 8th connector along: ~ 36cm
4th position
8th position