## Global
Modules
| Name | Type | Address | Controller | Crate | Clock source | Clock Freq | Buffer Size (Eventes) | Sync Method
| V1A7 | SIS3316 | 7 | /dev/sis1100_10remote | 1 | LEMO 50 PLL | 250 | 1000000

## Hard_V1A7
Channels
|  |  |  | Trigger Parameters |  |  |  |  | Energy Filter Parameters | [5 empty] | Samples Parameters
| Chan Num | Name | Hist Enable | Peaking Time | Gap Time | Threshold | Pretrigger Delay | Trigger Gate | Peaking Time | Gap Time | Tau | Decimation | Energy Pickup | MAW Display Start Index | Number of Samples | Start Index | Sig Polarity | Int Trig | Ext Trig | Ext Veto | Ext Gate | Int Gate1 | Int Gate2 | Int Sum Trig | Gain | Termination | Offset | En MAW | En MAW Samples | Cf Valeues | Peak & Acc1-6 | Acc 7 8 | Time MAW | FIR | Peak | Cf Time | Time Stamp | Acc1 Start | Acc1 Length | Acc1 Range | Acc2 Start | Acc2 Length | Acc2 Range | Acc3 Start | Acc3 Length | Acc3 Range | Acc4 Start | Acc4 Length | Acc4 Range | Acc5 Start | Acc5 Length | Acc5 Range | Acc6 Start | Acc6 Length | Acc6 Range | Acc7 Start | Acc7 Length | Acc7 Range | Acc8 Start | Acc8 Length | Acc8 Range
| 0 | V1A7C1 | 1 | 25 | 0 | 200 | 150 | 2500 | 32 | 12 | 517 | 0 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11000 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | 90 | 90 | 60000 | 0 | 90 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | V1A7C2 | 1 | 25 | 0 | 200 | Force by 0 | Force by 0 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11000 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 2 | V1A7C3 | 1 | 25 | 0 | 200 | Force by 0 | Force by 0 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11000 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 3 | V1A7C4 | 1 | 25 | 0 | 200 | Force by 0 | Force by 0 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11000 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 4 | V1A7C5 | 1 | 25 | 0 | 500 | 150 | 10000 | 32 | 12 | 517 | 0 | 0 | 0 | 10000 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 52000 | 1 | 1 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | 90 | 90 | 60000 | 0 | 90 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | V1A7C6 | 1 | 25 | 0 | 90 | Force by 4 | Force by 4 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 6 | V1A7C7 | 1 | 25 | 0 | 90 | Force by 4 | Force by 4 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 7 | V1A7C8 | 1 | 25 | 0 | 90 | Force by 4 | Force by 4 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 8 | V1A7C9 | 1 | 25 | 0 | 90 | 150 | 2500 | 32 | 12 | 517 | 0 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | 90 | 90 | 60000 | 0 | 90 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | V1A7C10 | 1 | 25 | 0 | 90 | Force by 8 | Force by 8 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 10 | V1A7C11 | 1 | 25 | 0 | 90 | Force by 8 | Force by 8 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 11 | V1A7C12 | 1 | 25 | 0 | 90 | Force by 8 | Force by 8 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 12 | V1A7C13 | 1 | 25 | 0 | 90 | 150 | 2500 | 32 | 12 | 517 | 0 | 0 | 0 | 0 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | 90 | 90 | 60000 | 0 | 90 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | V1A7C14 | 1 | 25 | 0 | 90 | Force by 12 | Force by 12 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 12 | Force by 12 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 60000 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 14 | V1A7C15 | 1 | 25 | 0 | 90 | Force by 12 | Force by 12 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 12 | Force by 12 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 60000 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 15 | V1A7C16 | 1 | 25 | 0 | 90 | Force by 12 | Force by 12 | 32 | 12 | 517 | 0 | 0 | 0 | Force by 12 | Force by 12 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | FALSE | 60000 | 1 | 0 | 0 | 1 | 0 | 0 | 1000000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12

## Cal_V1A7
Calibration
| Name | Type | Hard Source | Par Source | Range Min | Range Max | Bins | Cal Factor | Cal Offset | Units | Make Hist
| xa | CalSpec | V1A7C1 | EFIR | 0 | 50000 | 16000 | 0.072787 | 0 | keV | 1
| xb | CalSpec | V1A7C2 | EFIR | 0 | 50000 | 16000 | 0.072787 | 0 | keV | 1
| ya | CalSpec | V1A7C3 | EFIR | 0 | 50000 | 16000 | 0.072787 | 0 | keV | 1
| yb | CalSpec | V1A7C4 | EFIR | 0 | 50000 | 16000 | 0.072787 | 0 | keV | 1
| dyn | CalSpec | V1A7C5 | EFIR | 0 | 10000 | 4000 | 0.072787 | 0 | keV | 1
| xaL | CalSpec | V1A7C9 | EFIR | 0 | 200000 | 16000 | 0.73068 | 0 | keV | 1
| xbL | CalSpec | V1A7C10 | EFIR | 0 | 200000 | 16000 | 0.73068 | 0 | keV | 1
| yaL | CalSpec | V1A7C11 | EFIR | 0 | 200000 | 16000 | 0.73068 | 0 | keV | 1
| ybL | CalSpec | V1A7C12 | EFIR | 0 | 200000 | 16000 | 0.73068 | 0 | keV | 1
| dynL | CalSpec | V1A7C13 | EFIR | 0 | 50000 | 16000 | 0.73068 | 0 | keV | 1
| xaAcc1 | CalSpec | V1A7C1 | Acc1 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| xaAcc2 | CalSpec | V1A7C1 | Acc2 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| xbAcc1 | CalSpec | V1A7C2 | Acc1 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| xbAcc2 | CalSpec | V1A7C2 | Acc2 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| yaAcc1 | CalSpec | V1A7C3 | Acc1 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| yaAcc2 | CalSpec | V1A7C3 | Acc2 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| ybAcc1 | CalSpec | V1A7C4 | Acc1 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| ybAcc2 | CalSpec | V1A7C4 | Acc2 | 0 | 11000 | 4000 | 0.072787 | 0 | keV | 1
| dynAcc1 | CalSpec | V1A7C5 | Acc1 | 0 | 11000 | 4000 | 0.096147 | 0 | keV | 1
| dynAcc2 | CalSpec | V1A7C5 | Acc2 | 0 | 11000 | 4000 | 0.096147 | 0 | keV | 1
| xaLAcc1 | CalSpec | V1A7C9 | Acc1 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| xaLAcc2 | CalSpec | V1A7C9 | Acc2 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| xbLAcc1 | CalSpec | V1A7C10 | Acc1 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| xbLAcc2 | CalSpec | V1A7C10 | Acc2 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| yaLAcc1 | CalSpec | V1A7C11 | Acc1 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| yaLAcc2 | CalSpec | V1A7C11 | Acc2 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| ybLAcc1 | CalSpec | V1A7C12 | Acc1 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| ybLAcc2 | CalSpec | V1A7C12 | Acc2 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| dynLAcc1 | CalSpec | V1A7C13 | Acc1 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1
| dynLAcc2 | CalSpec | V1A7C13 | Acc2 | 0 | 11000 | 4000 | 0.73068 | 0 | keV | 1

## Condition
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
ybxa | OperationEL | yb | 0 | 0 | xa | 0 | 0 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxb | OperationEL | xa | 0 | 0 | xb | 0 | 0 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yayb | OperationEL | ya | 0 | 0 | yb | 0 | 0 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxbyayb | OperationEL | xaxb | 0 | 0 | yayb | 0 | 0 | + | 1 | 1 | 0 | 0 | 40000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xpos | OperationEL | ybxa | 0 | 0 | xaxbyayb | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
ypos | OperationEL | xaxb | 0 | 0 | xaxbyayb | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Scater Plots
Name | Type | Sources X | RangeMinX | RangeMaxX | Hist BinsX | Sources Y | RangeMinY | RangeMaxY | Hist BinsY | Timestamp low | Timestamp Up | Make Hist
xypos | ScaterEL | xpos | 0 | 1 | 500 | ypos | 0 | 1 | 500 | 15 | 15 | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
Txa | TimeEL | xa | 45 | 10000 | Timestamp | 0 | 10000000 | 0 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
Txb | TimeEL | xb | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
Tya | TimeEL | ya | 45 | 10000 | Timestamp | 0 | 1000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
Tyb | TimeEL | yb | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
Tdyn | TimeEL | dyn | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
Txaxb | OperationEL | Txa | 0 | 0 | Txb | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
Tyayb | OperationEL | Tya | 0 | 0 | Tyb | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
Txayb | OperationEL | Txa | 0 | 0 | Tyb | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
Tdynxa | OperationEL | Tdyn | 0 | 0 | Txa | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
Tdynya | OperationEL | Tdyn | 0 | 0 | Tya | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
ybxaL | OperationEL | ybL | 0 | 0 | xaL | 0 | 0 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxbL | OperationEL | xaL | 0 | 0 | xbL | 0 | 0 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yaybL | OperationEL | yaL | 0 | 0 | ybL | 0 | 0 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxbyaybL | OperationEL | xaxbL | 0 | 0 | yaybL | 0 | 0 | + | 1 | 1 | 0 | 0 | 40000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xposL | OperationEL | ybxaL | 0 | 0 | xaxbyaybL | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yposL | OperationEL | xaxbL | 0 | 0 | xaxbyaybL | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Scater Plots
Name | Type | Sources X | RangeMinX | RangeMaxX | Hist BinsX | Sources Y | RangeMinY | RangeMaxY | Hist BinsY | Timestamp low | Timestamp Up | Make Hist
xyposL | ScaterEL | xposL | 0 | 1 | 500 | yposL | 0 | 1 | 500 | 15 | 15 | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TxaL | TimeEL | xaL | 45 | 10000 | Timestamp | 0 | 10000000 | 0 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TxbL | TimeEL | xbL | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TyaL | TimeEL | yaL | 45 | 10000 | Timestamp | 0 | 1000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TybL | TimeEL | ybL | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TdynL | TimeEL | dynL | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TxaxbL | OperationEL | TxaL | 0 | 0 | TxbL | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TyaybL | OperationEL | TyaL | 0 | 0 | TybL | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TxaybL | OperationEL | TxaL | 0 | 0 | TybL | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TdynxaL | OperationEL | TdynL | 0 | 0 | TxaL | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TdynyaL | OperationEL | TdynL | 0 | 0 | TyaL | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaAcc | OperationEL | xaAcc1 | 0 | 110000 | xaAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xbAcc | OperationEL | xbAcc1 | 0 | 110000 | xbAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yaAcc | OperationEL | yaAcc1 | 0 | 110000 | yaAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
ybAcc | OperationEL | ybAcc1 | 0 | 110000 | ybAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
dynAcc | OperationEL | dynAcc1 | 0 | 110000 | dynAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaLAcc | OperationEL | xaLAcc1 | 0 | 110000 | xaLAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xbLAcc | OperationEL | xbLAcc1 | 0 | 110000 | xbLAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yaLAcc | OperationEL | yaLAcc1 | 0 | 110000 | yaLAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
ybLAcc | OperationEL | ybLAcc1 | 0 | 110000 | ybLAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
dynLAcc | OperationEL | dynLAcc1 | 0 | 110000 | dynLAcc2 | 0 | 110000 | - | 1 | 1 | 0 | 0 | 10000 | 4000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
ybxaAcc | OperationEL | ybAcc | 45 | 10000 | xaAcc | 45 | 10000 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxbAcc | OperationEL | xaAcc | 45 | 10000 | xbAcc | 45 | 10000 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yaybAcc | OperationEL | yaAcc | 45 | 10000 | ybAcc | 45 | 10000 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxbyaybAcc | OperationEL | xaxbAcc | 0 | 0 | yaybAcc | 0 | 0 | + | 1 | 1 | 0 | 0 | 40000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xposAcc | OperationEL | ybxaAcc | 0 | 0 | xaxbyaybAcc | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yposAcc | OperationEL | xaxbAcc | 0 | 0 | xaxbyaybAcc | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Scater Plots
Name | Type | Sources X | RangeMinX | RangeMaxX | Hist BinsX | Sources Y | RangeMinY | RangeMaxY | Hist BinsY | Timestamp low | Timestamp Up | Make Hist
xyposAcc | ScaterEL | xposAcc | 0 | 1 | 200 | yposAcc | 0 | 1 | 200 | 15 | 15 | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TxaAcc | TimeEL | xaAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 0 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TxbAcc | TimeEL | xbAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TyaAcc | TimeEL | yaAcc | 45 | 10000 | Timestamp | 0 | 1000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TybAcc | TimeEL | ybAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TdynAcc | TimeEL | dynAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TxaxbAcc | OperationEL | TxaAcc | 0 | 0 | TxbAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TyaybAcc | OperationEL | TyaAcc | 0 | 0 | TybAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TxaybAcc | OperationEL | TxaAcc | 0 | 0 | TybAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TdynxaAcc | OperationEL | TdynAcc | 0 | 0 | TxaAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TdynyaAcc | OperationEL | TdynAcc | 0 | 0 | TyaAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
ybxaLAcc | OperationEL | ybLAcc | 45 | 10000 | xaLAcc | 45 | 10000 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxbLAcc | OperationEL | xaLAcc | 45 | 10000 | xbLAcc | 45 | 10000 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yaybLAcc | OperationEL | yaLAcc | 45 | 10000 | ybLAcc | 45 | 10000 | + | 1 | 1 | 0 | 0 | 20000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xaxbyaybLAcc | OperationEL | xaxbLAcc | 0 | 0 | yaybLAcc | 0 | 0 | + | 1 | 1 | 0 | 0 | 40000 | 1000 | 15 | 15 | kev | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
xposLAcc | OperationEL | ybxaLAcc | 0 | 0 | xaxbyaybLAcc | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
yposLAcc | OperationEL | xaxbLAcc | 0 | 0 | xaxbyaybLAcc | 0 | 0 | / | 1 | 1 | 0 | 0 | 1 | 1000 | 15 | 15 | ua | 1
Scater Plots
Name | Type | Sources X | RangeMinX | RangeMaxX | Hist BinsX | Sources Y | RangeMinY | RangeMaxY | Hist BinsY | Timestamp low | Timestamp Up | Make Hist
xyposLAcc | ScaterEL | xposLAcc | 0 | 1 | 200 | yposLAcc | 0 | 1 | 200 | 15 | 15 | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TxaLAcc | TimeEL | xaLAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 0 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TxbLAcc | TimeEL | xbLAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TyaLAcc | TimeEL | yaLAcc | 45 | 10000 | Timestamp | 0 | 1000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TybLAcc | TimeEL | ybLAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable
TdynLAcc | TimeEL | dynLAcc | 45 | 10000 | Timestamp | 0 | 10000000 | 100 | 4 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TxaxbLAcc | OperationEL | TxaLAcc | 0 | 0 | TxbLAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TyaybLAcc | OperationEL | TyaLAcc | 0 | 0 | TybLAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TxaybLAcc | OperationEL | TxaLAcc | 0 | 0 | TybLAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
dynxaLAcc | OperationEL | TdynLAcc | 0 | 0 | TxaLAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TdynyaLAcc | OperationEL | TdynLAcc | 0 | 0 | TyaLAcc | 0 | 0 | - | 1 | 1 | 0 | -500 | 500 | 1000 | 125 | 125 | ns | 1
Cuts
Name | Type | ScaterName | X1 | Y1 | X2 | Y2 | X3 | Y3 | X4 | Y4 | Xn | Yn

## Groups
Groups