## Global
Modules
| Name | Type | Address | Controller | Crate | Clock source | Clock Freq | Buffer Size (Eventes) | Sync Method
| DTASDy | SIS3316 | 7 | /dev/sis1100_10remote | 0 | LEMO 50 PLL | 250 | 0
| DTASAn | SIS3316 | 8 | /dev/sis1100_10remote | 0 | LEMO 50 PLL | 250 | 0
| AncDet | SIS3316 | 9 | /dev/sis1100_10remote | 0 | LEMO 50 PLL | 250 | 1000000

## Hard_DTASDy
Channels
|  |  |  | Trigger Parameters |  |  |  |  | Energy Filter Parameters | [5 empty] | Samples Parameters
| Chan Num | Name | Hist Enable | Peaking Time | Gap Time | Threshold | Pretrigger Delay | Trigger Gate | Peaking Time | Gap Time | Tau | Decimation | Energy Pickup | MAW Display Start Index | Number of Samples | Start Index | Sig Polarity | Int Trig | Ext Trig | Ext Veto | Ext Gate | Int Gate1 | Int Gate2 | Int Sum Trig | Gain | Termination | Offset | En MAW | En MAW Samples | Cf Valeues | Peak & Acc1-6 | Acc 7 8 | Time MAW | FIR | Peak | Cf Time | Time Stamp | Acc1 Start | Acc1 Length | Acc1 Range | Acc2 Start | Acc2 Length | Acc2 Range | Acc3 Start | Acc3 Length | Acc3 Range | Acc4 Start | Acc4 Length | Acc4 Range | Acc5 Start | Acc5 Length | Acc5 Range | Acc6 Start | Acc6 Length | Acc6 Range | Acc7 Start | Acc7 Length | Acc7 Range | Acc8 Start | Acc8 Length | Acc8 Range
| 0 | Dy01 | 1 | 100 | 50 | 500 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | Dy02 | 1 | 100 | 50 | 500 | Force by 0 | Force by 0 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 2 | Dy03 | 1 | 100 | 50 | 500 | Force by 0 | Force by 0 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 3 | Dy04 | 1 | 100 | 50 | 500 | Force by 0 | Force by 0 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 4 | Dy05 | 1 | 100 | 50 | 500 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | Dy06 | 1 | 100 | 50 | 540 | Force by 4 | Force by 4 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 4 | Force by 4 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 6 | Dy07 | 1 | 100 | 50 | 500 | Force by 4 | Force by 4 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 4 | Force by 4 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 7 | Dy08 | 1 | 100 | 50 | 810 | Force by 4 | Force by 4 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 4 | Force by 4 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 8 | Dy11 | 1 | 100 | 50 | 500 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | Dy12 | 1 | 100 | 50 | 500 | Force by 8 | Force by 8 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 8 | Force by 8 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 10 | Dy13 | 1 | 100 | 50 | 700 | Force by 8 | Force by 8 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 8 | Force by 8 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 11 | Dy14 | 1 | 100 | 50 | 500 | Force by 8 | Force by 8 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 8 | Force by 8 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 12 | Dy15 | 1 | 100 | 50 | 550 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | Dy16 | 1 | 100 | 50 | 520 | Force by 12 | Force by 12 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 12 | Force by 12 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 14 | Dy17 | 1 | 100 | 50 | 540 | Force by 12 | Force by 12 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 12 | Force by 12 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 15 | Dy18 | 1 | 100 | 50 | 500 | Force by 12 | Force by 12 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 12 | Force by 12 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 51000 | 1 | 0 | 1 | 0 | 0 | 0 | 2500000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12

## Hard_DTASAn
Channels
|  |  |  | Trigger Parameters |  |  |  |  | Energy Filter Parameters | [5 empty] | Samples Parameters
| Chan Num | Name | Hist Enable | Peaking Time | Gap Time | Threshold | Pretrigger Delay | Trigger Gate | Peaking Time | Gap Time | Tau | Decimation | Energy Pickup | MAW Display Start Index | Number of Samples | Start Index | Sig Polarity | Int Trig | Ext Trig | Ext Veto | Ext Gate | Int Gate1 | Int Gate2 | Int Sum Trig | Gain | Termination | Offset | En MAW | En MAW Samples | Cf Valeues | Peak & Acc1-6 | Acc 7 8 | Time MAW | FIR | Peak | Cf Time | Time Stamp | Acc1 Start | Acc1 Length | Acc1 Range | Acc2 Start | Acc2 Length | Acc2 Range | Acc3 Start | Acc3 Length | Acc3 Range | Acc4 Start | Acc4 Length | Acc4 Range | Acc5 Start | Acc5 Length | Acc5 Range | Acc6 Start | Acc6 Length | Acc6 Range | Acc7 Start | Acc7 Length | Acc7 Range | Acc8 Start | Acc8 Length | Acc8 Range
| 0 | An01 | 1 | 100 | 50 | 1300 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | An02 | 1 | 100 | 50 | 1300 | Force by 0 | Force by 0 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 2 | An03 | 1 | 100 | 50 | 1300 | Force by 0 | Force by 0 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 3 | An04 | 1 | 100 | 50 | 1300 | Force by 0 | Force by 0 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 4 | An05 | 1 | 100 | 50 | 1300 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | An06 | 1 | 100 | 50 | 1300 | Force by 4 | Force by 4 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 6 | An07 | 1 | 100 | 50 | 1300 | Force by 4 | Force by 4 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 7 | An08 | 1 | 100 | 50 | 1300 | Force by 4 | Force by 4 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 8 | An11 | 1 | 100 | 50 | 1300 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | An12 | 1 | 100 | 50 | 1300 | Force by 8 | Force by 8 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 10 | An13 | 1 | 100 | 50 | 1300 | Force by 8 | Force by 8 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 11 | An14 | 1 | 100 | 50 | 1300 | Force by 8 | Force by 8 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 12 | An15 | 1 | 100 | 50 | 1300 | 350 | 800 | 300 | 200 | 25000 | -1 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | An16 | 1 | 100 | 50 | 1300 | Force by 12 | Force by 12 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 12 | Force by 12 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 14 | An17 | 1 | 100 | 50 | 1300 | Force by 12 | Force by 12 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 12 | Force by 12 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 15 | An18 | 1 | 100 | 50 | 1300 | Force by 12 | Force by 12 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 12 | Force by 12 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12

## Hard_AncDet
Channels
|  |  |  | Trigger Parameters |  |  |  |  | Energy Filter Parameters | [5 empty] | Samples Parameters
| Chan Num | Name | Hist Enable | Peaking Time | Gap Time | Threshold | Pretrigger Delay | Trigger Gate | Peaking Time | Gap Time | Tau | Decimation | Energy Pickup | MAW Display Start Index | Number of Samples | Start Index | Sig Polarity | Int Trig | Ext Trig | Ext Veto | Ext Gate | Int Gate1 | Int Gate2 | Int Sum Trig | Gain | Termination | Offset | En MAW | En MAW Samples | Cf Valeues | Peak & Acc1-6 | Acc 7 8 | Time MAW | FIR | Peak | Cf Time | Time Stamp | Acc1 Start | Acc1 Length | Acc1 Range | Acc2 Start | Acc2 Length | Acc2 Range | Acc3 Start | Acc3 Length | Acc3 Range | Acc4 Start | Acc4 Length | Acc4 Range | Acc5 Start | Acc5 Length | Acc5 Range | Acc6 Start | Acc6 Length | Acc6 Range | Acc7 Start | Acc7 Length | Acc7 Range | Acc8 Start | Acc8 Length | Acc8 Range
| 0 | V2A8C1 | 1 | 2 | 2 | 40 | 100 | 200 | 2 | 2 | 517 | 0 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 15000 | 1 | 0 | 0 | 0 | 0 | 0 | 50000 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | V2A8C2 | 1 | 2 | 2 | 40 | Force by 0 | Force by 0 | 2 | 2 | 517 | 0 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 15000 | 1 | 0 | 0 | 0 | 0 | 0 | 50000 | 5000 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 2 | V2A8C3 | 1 | 2 | 2 | 28 | Force by 0 | Force by 0 | 2 | 2 | 517 | 0 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 15000 | 1 | 0 | 0 | 0 | 0 | 0 | 10000 | 5000 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 3 | V2A8C4 | 1 | 2 | 2 | 28 | Force by 0 | Force by 0 | 2 | 2 | 517 | 0 | 0 | 0 | Force by 0 | Force by 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 15000 | 1 | 0 | 0 | 0 | 0 | 0 | 10000 | 5000 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 4 | V2A8C5 | 1 | 2 | 2 | 150 | 100 | 500 | 20 | 2 | 517 | 0 | 0 | 0 | 0 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 50000 | 1 | 0 | 0 | 0 | 0 | 0 | 200000 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | V2A8C6 | 1 | 40 | 20 | 4300 | Force by 4 | Force by 4 | 350 | 100 | 25000 | 0 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 15000 | 1 | 0 | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 6 | V2A8C7 | 1 | 20 | 20 | 120 | Force by 4 | Force by 4 | 20 | 20 | 517 | 0 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11500 | 1 | 0 | 0 | 0 | 0 | 0 | 40000 | 5000 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 7 | V2A8C8 | 1 | 20 | 20 | 120 | Force by 4 | Force by 4 | 20 | 20 | 517 | 0 | 0 | 0 | Force by 4 | Force by 4 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11500 | 1 | 0 | 0 | 0 | 0 | 0 | 40000 | 5000 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 8 | V2A8C9 | 1 | 2 | 2 | 50 | 100 | 500 | 20 | 2 | 517 | 0 | 0 | 0 | 0 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 50000 | 1 | 0 | 0 | 0 | 0 | 0 | 200000 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | RefAn | 1 | 100 | 50 | 1600 | Force by 8 | Force by 8 | 300 | 200 | 25000 | -1 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 16000 | 1 | 0 | 1 | 0 | 0 | 0 | 6000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 10 | V2A8C11 | 1 | 20 | 20 | 22004 | Force by 8 | Force by 8 | 20 | 20 | 517 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11500 | 1 | 0 | 0 | 0 | 0 | 0 | 100000 | 5000 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 11 | V2A8C12 | 1 | 20 | 20 | 22005 | Force by 8 | Force by 8 | 20 | 20 | 517 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 11500 | 1 | 0 | 0 | 0 | 0 | 0 | 100000 | 5000 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 12 | V2A8C13 | 1 | 20 | 20 | 170 | 200 | 1000 | 200 | 150 | 2000 | 0 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 50000 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | V2A8C14 | 1 | 20 | 20 | 170 | Force by 12 | Force by 12 | 200 | 150 | 2000 | 0 | 0 | 0 | Force by 12 | Force by 12 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 50000 | 5000 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 14 | V2A8C15 | 1 | 20 | 20 | 500 | Force by 12 | Force by 12 | 20 | 2 | 517 | 0 | 0 | 0 | Force by 12 | Force by 12 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 50000 | 1 | 0 | 0 | 0 | 0 | 0 | 1000000 | 5000 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12
| 15 | V2A8C16 | 1 | 40 | 20 | 4300 | Force by 12 | Force by 12 | 350 | 100 | 25000 | 0 | 0 | 0 | Force by 12 | Force by 12 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | FALSE | 15000 | 1 | 0 | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 | 0 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12 | Force by 12

## Cal_DTASDy
Calibration
| Name | Type | Hard Source | Par Source | Range Min | Range Max | Bins | Cal Factor | Cal Offset | Units | Make Hist
| EDy01 | CalSpec | Dy01 | EFIR | 0 | 30000 | 15000 | 0.020554 | -27.0487 | keV | 1
| EDy02 | CalSpec | Dy02 | EFIR | 0 | 30000 | 15000 | 0.020736 | -26.9111 | keV | 1
| EDy03 | CalSpec | Dy03 | EFIR | 0 | 30000 | 15000 | 0.020449 | -30.0223 | keV | 1
| EDy04 | CalSpec | Dy04 | EFIR | 0 | 30000 | 15000 | 0.020736 | -33.3911 | keV | 1
| EDy05 | CalSpec | Dy05 | EFIR | 0 | 30000 | 15000 | 0.020522 | -29.6576 | keV | 1
| EDy06 | CalSpec | Dy06 | EFIR | 0 | 30000 | 15000 | 0.020736 | -23.6712 | keV | 1
| EDy07 | CalSpec | Dy07 | EFIR | 0 | 30000 | 15000 | 0.020522 | -32.8643 | keV | 1
| EDy08 | CalSpec | Dy08 | EFIR | 0 | 30000 | 15000 | 0.020736 | -23.6712 | keV | 1
| EDy11 | CalSpec | Dy11 | EFIR | 0 | 30000 | 15000 | 0.020629 | -29.9047 | keV | 1
| EDy12 | CalSpec | Dy12 | EFIR | 0 | 30000 | 15000 | 0.020736 | -23.6712 | keV | 1
| EDy13 | CalSpec | Dy13 | EFIR | 0 | 30000 | 15000 | 0.02066 | -30.4974 | keV | 1
| EDy14 | CalSpec | Dy14 | EFIR | 0 | 30000 | 15000 | 0.020629 | -23.4582 | keV | 1
| EDy15 | CalSpec | Dy15 | EFIR | 0 | 30000 | 15000 | 0.020554 | -23.8371 | keV | 1
| EDy16 | CalSpec | Dy16 | EFIR | 0 | 30000 | 15000 | 0.020844 | -30.397 | keV | 1
| EDy17 | CalSpec | Dy17 | EFIR | 0 | 30000 | 15000 | 0.020522 | -26.451 | keV | 1
| EDy18 | CalSpec | Dy18 | EFIR | 0 | 30000 | 15000 | 0.020736 | -26.9111 | keV | 1
| LDy01 | CalSpec | Dy01 | EFIR | 0 | 30000 | 15000 | 0.020554 | 0 | au | 1
| LDy02 | CalSpec | Dy02 | EFIR | 0 | 30000 | 15000 | 0.020736 | 0 | au | 1
| LDy03 | CalSpec | Dy03 | EFIR | 0 | 30000 | 15000 | 0.020449 | 0 | au | 1
| LDy04 | CalSpec | Dy04 | EFIR | 0 | 30000 | 15000 | 0.020736 | 0 | au | 1
| LDy05 | CalSpec | Dy05 | EFIR | 0 | 30000 | 15000 | 0.020522 | 0 | au | 1
| LDy06 | CalSpec | Dy06 | EFIR | 0 | 30000 | 15000 | 0.020736 | 0 | au | 1
| LDy07 | CalSpec | Dy07 | EFIR | 0 | 30000 | 15000 | 0.020522 | 0 | au | 1
| LDy08 | CalSpec | Dy08 | EFIR | 0 | 30000 | 15000 | 0.020736 | 0 | au | 1
| LDy11 | CalSpec | Dy11 | EFIR | 0 | 30000 | 15000 | 0.020629 | 0 | au | 1
| LDy12 | CalSpec | Dy12 | EFIR | 0 | 30000 | 15000 | 0.020736 | 0 | au | 1
| LDy13 | CalSpec | Dy13 | EFIR | 0 | 30000 | 15000 | 0.02066 | 0 | au | 1
| LDy14 | CalSpec | Dy14 | EFIR | 0 | 30000 | 15000 | 0.020629 | 0 | au | 1
| LDy15 | CalSpec | Dy15 | EFIR | 0 | 30000 | 15000 | 0.020554 | 0 | au | 1
| LDy16 | CalSpec | Dy16 | EFIR | 0 | 30000 | 15000 | 0.020844 | 0 | au | 1
| LDy17 | CalSpec | Dy17 | EFIR | 0 | 30000 | 15000 | 0.020522 | 0 | au | 1
| LDy18 | CalSpec | Dy18 | EFIR | 0 | 30000 | 15000 | 0.020736 | 0 | au | 1

## Cal_DTASAn
Calibration
| Name | Type | Hard Source | Par Source | Range Min | Range Max | Bins | Cal Factor | Cal Offset | Units | Make Hist
| EAn01 | CalSpec | An01 | EFIR | 0 | 20000 | 15000 | 0.0022464 | -27.5602 | keV | 1
| EAn02 | CalSpec | An02 | EFIR | 0 | 20000 | 15000 | 0.0025007 | -30.1268 | keV | 1
| EAn03 | CalSpec | An03 | EFIR | 0 | 20000 | 15000 | 0.0024319 | -33.0839 | keV | 1
| EAn04 | CalSpec | An04 | EFIR | 0 | 20000 | 15000 | 0.0026919 | -31.0839 | keV | 1
| EAn05 | CalSpec | An05 | EFIR | 0 | 20000 | 15000 | 0.0026173 | -31.0377 | keV | 1
| EAn06 | CalSpec | An06 | EFIR | 0 | 20000 | 15000 | 0.0022923 | -27.9043 | keV | 1
| EAn07 | CalSpec | An07 | EFIR | 0 | 20000 | 15000 | 0.0024319 | -33.0839 | keV | 1
| EAn08 | CalSpec | An08 | EFIR | 0 | 20000 | 15000 | 0.0024563 | -25.6173 | keV | 1
| EAn11 | CalSpec | An11 | EFIR | 0 | 20000 | 15000 | 0.0019275 | -27.9261 | keV | 1
| EAn12 | CalSpec | An12 | EFIR | 0 | 20000 | 15000 | 0.0027273 | -31.7202 | keV | 1
| EAn13 | CalSpec | An13 | EFIR | 0 | 20000 | 15000 | 0.00216 | -26.9111 | keV | 1
| EAn14 | CalSpec | An14 | EFIR | 0 | 20000 | 15000 | 0.0021192 | -26.6048 | keV | 1
| EAn15 | CalSpec | An15 | EFIR | 0 | 20000 | 15000 | 0.0023534 | -28.5215 | keV | 1
| EAn16 | CalSpec | An16 | EFIR | 0 | 20000 | 15000 | 0.0024709 | -33.2842 | keV | 1
| EAn17 | CalSpec | An17 | EFIR | 0 | 20000 | 15000 | 0.0023309 | -28.6543 | keV | 1
| EAn18 | CalSpec | An18 | EFIR | 0 | 20000 | 15000 | 0.0025266 | -26.2136 | keV | 1
| LAn01 | CalSpec | An01 | EFIR | 0 | 20000 | 15000 | 0.0022464 | 0 | au | 1
| LAn02 | CalSpec | An02 | EFIR | 0 | 20000 | 15000 | 0.0025007 | 0 | au | 1
| LAn03 | CalSpec | An03 | EFIR | 0 | 20000 | 15000 | 0.0024319 | 0 | au | 1
| LAn04 | CalSpec | An04 | EFIR | 0 | 20000 | 15000 | 0.0026919 | 0 | au | 1
| LAn05 | CalSpec | An05 | EFIR | 0 | 20000 | 15000 | 0.0026173 | 0 | au | 1
| LAn06 | CalSpec | An06 | EFIR | 0 | 20000 | 15000 | 0.0022923 | 0 | au | 1
| LAn07 | CalSpec | An07 | EFIR | 0 | 20000 | 15000 | 0.0024319 | 0 | au | 1
| LAn08 | CalSpec | An08 | EFIR | 0 | 20000 | 15000 | 0.0024563 | 0 | au | 1
| LAn11 | CalSpec | An11 | EFIR | 0 | 20000 | 15000 | 0.0019275 | 0 | au | 1
| LAn12 | CalSpec | An12 | EFIR | 0 | 20000 | 15000 | 0.0027273 | 0 | au | 1
| LAn13 | CalSpec | An13 | EFIR | 0 | 20000 | 15000 | 0.00216 | 0 | au | 1
| LAn14 | CalSpec | An14 | EFIR | 0 | 20000 | 15000 | 0.0021192 | 0 | au | 1
| LAn15 | CalSpec | An15 | EFIR | 0 | 20000 | 15000 | 0.0023534 | 0 | au | 1
| LAn16 | CalSpec | An16 | EFIR | 0 | 20000 | 15000 | 0.0024709 | 0 | au | 1
| LAn17 | CalSpec | An17 | EFIR | 0 | 20000 | 15000 | 0.0023309 | 0 | au | 1
| LAn18 | CalSpec | An18 | EFIR | 0 | 20000 | 15000 | 0.0025266 | 0 | au | 1

## Condition
Soft Sum EL
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | Gate Length | Sources...
ESumA | SoftSumEL | 1 | 15000 | 0 | 20000 | 80 | EAn01 | EAn02 | EAn03 | EAn04 | EAn05 | EAn06 | EAn07 | EAn08 | EAn11 | EAn12 | EAn13 | EAn14 | EAn15 | EAn16 | EAn17 | EAn18
Soft Sum EL
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | Gate Length 80: Gate Length; Sources... EAn01: Sources...
ESumD | SoftSumEL | 1 | 15000 | 0 | 20000 | 80 | EDy01 | EDy02 | EDy03 | EDy04 | EDy05 | EDy06 | EDy07 | EDy08 | EDy11 | EDy12 | EDy13 | EDy14 | EDy15 | EDy16 | EDy17 | EDy18
Soft Sum EL
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | Gate Length 80: Gate Length; Sources... EDy01: Sources...
LSumA | SoftSumEL | 1 | 15000 | 0 | 20000 | 80 | LAn01 | LAn02 | LAn03 | LAn04 | LAn05 | LAn06 | LAn07 | LAn08 | LAn11 | LAn12 | LAn13 | LAn14 | LAn15 | LAn16 | LAn17 | LAn18
Soft Sum EL
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | Gate Length 80: Gate Length; Sources... LAn01: Sources...
LSumD | SoftSumEL | 1 | 15000 | 0 | 20000 | 80 | LDy01 | LDy02 | LDy03 | LDy04 | LDy05 | LDy06 | LDy07 | LDy08 | LDy11 | LDy12 | LDy13 | LDy14 | LDy15 | LDy16 | LDy17 | LDy18
Add Signals
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | Gate Length 80: SocketId; Sources... LDy01: Sources...
ECryA | SignAdd | 1 | 15000 | 0 | 20000 | 0 | EAn01 | EAn02 | EAn03 | EAn04 | EAn05 | EAn06 | EAn07 | EAn08 | EAn11 | EAn12 | EAn13 | EAn14 | EAn15 | EAn16 | EAn17 | EAn18
Add Signals
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | SocketId 0: SocketId; Sources... EAn01: Sources...
ECryD | SignAdd | 1 | 15000 | 0 | 20000 | 0 | EDy01 | EDy02 | EDy03 | EDy04 | EDy05 | EDy06 | EDy07 | EDy08 | EDy11 | EDy12 | EDy13 | EDy14 | EDy15 | EDy16 | EDy17 | EDy18
Add Signals
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | SocketId 0: SocketId; Sources... EDy01: Sources...
LCryA | SignAdd | 1 | 15000 | 0 | 20000 | 0 | LAn01 | LAn02 | LAn03 | LAn04 | LAn05 | LAn06 | LAn07 | LAn08 | LAn11 | LAn12 | LAn13 | LAn14 | LAn15 | LAn16 | LAn17 | LAn18
Add Signals
Name | Type | Make Hist | Hist Bins | RangeMin | RangeMax | SocketId 0: SocketId; Sources... LAn01: Sources...
LCryD | SignAdd | 1 | 15000 | 0 | 20000 | 0 | LDy01 | LDy02 | LDy03 | LDy04 | LDy05 | LDy06 | LDy07 | LDy08 | LDy11 | LDy12 | LDy13 | LDy14 | LDy15 | LDy16 | LDy17 | LDy18
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TSumA | TimeEL | ESumA | 0 | 8000 | Timestamp | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 4e-06; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TSumD | TimeEL | ESumD | 0 | 18000 | Timestamp | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 4e-06; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TCryA | TimeEL | ECryA | 0 | 8000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TCryD | TimeEL | ECryD | 0 | 18000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TAn01 | TimeEL | EAn01 | 0 | 8000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TAn11 | TimeEL | EAn11 | 0 | 8000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TAn12 | TimeEL | EAn12 | 0 | 8000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TDy01 | TimeEL | EDy01 | 0 | 18000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TDy11 | TimeEL | EDy11 | 0 | 18000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Time Plots
Name | Type | Source | Enenrgy Min | Energy Max | Time source | SocketId 0: Time Range Min; Sources... LDy01: Time Range Max; Sources... LDy02: Hist Bins; Sources... LDy03: Calibration Factor; Sources... LDy04: Units; Sources... LDy05: Hist Enable; Sources... LDy06: Rate calibration factor; Sources... LDy07: Rate units
TDy12 | TimeEL | EDy12 | 0 | 18000 | CF | SocketId 0: 0; Sources... LDy01: 99990000; Sources... LDy02: 10000; Sources... LDy03: 1e-09; Sources... LDy04: ms; Sources... LDy05: 1; Sources... LDy06: 1; Sources... LDy07: counts
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TACA | OperationEL | TCryA | 0 | 0 | TCryA | 0 | 0 | - | 1000000 | 1000000 | 0 | -1000 | 1000 | 2000 | 250 | 250 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TACD | OperationEL | TCryD | 0 | 0 | TCryD | 0 | 0 | - | 1000000 | 1000000 | 0 | -1000 | 1000 | 2000 | 250 | 250 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TACA01_11 | OperationEL | TAn01 | 0 | 0 | TAn11 | 0 | 0 | - | 1000000 | 1000000 | 0 | -1000 | 1000 | 2000 | 250 | 250 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TACD01_11 | OperationEL | TDy01 | 0 | 0 | TDy11 | 0 | 0 | - | 1000000 | 1000000 | 0 | -1000 | 1000 | 2000 | 250 | 250 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TACA01_12 | OperationEL | TAn01 | 0 | 0 | TAn12 | 0 | 0 | - | 1000000 | 1000000 | 0 | -1000 | 1000 | 2000 | 250 | 250 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TACD01_12 | OperationEL | TDy01 | 0 | 0 | TDy12 | 0 | 0 | - | 1000000 | 1000000 | 0 | -1000 | 1000 | 2000 | 250 | 250 | ns | 1
Operation Plots
Name | Type | Operator A | RangeMin A | RangeMax B | Operator B | RangeMin B | RangeMax B | Operation (Af*A(Op)Bf*B+Offs) | A factor Af | B factor Bf | Offset | New Spec Min | New Spec Max | Result Hist Bins | Timestamp low | Timestamp Up | Units | Make Hist
TACA01_D01 | OperationEL | TAn01 | 0 | 0 | TDy01 | 0 | 0 | - | 1000000 | 1000000 | 0 | -1000 | 1000 | 2000 | 250 | 250 | ns | 1
Cuts
Name | Type | ScaterName | X1 | Y1 | X2 | SocketId 0: Y2; Sources... LDy01: X3; Sources... LDy02: Y3; Sources... LDy03: X4; Sources... LDy04: Y4; Sources... LDy05: Xn; Sources... LDy06: Yn

## Groups
Groups
Group Name | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module
Dynodes | Dy01 | Direct | EFIR | 0 | DTASDy | Dy02 | Direct | EFIR | 1 | DTASDy | Dy03 | Direct | EFIR | 2 | DTASDy | Dy04 | Direct | EFIR | 3 | DTASDy | Dy05 | Direct | EFIR | 4 | DTASDy | Dy06 | Direct | EFIR | 5 | DTASDy | Dy07 | Direct | EFIR | 6 | DTASDy | Dy08 | Direct | EFIR | 7 | DTASDy | Dy11 | Direct | EFIR | 8 | DTASDy | Dy12 | Direct | EFIR | 9 | DTASDy | Dy13 | Direct | EFIR | 10 | DTASDy | Dy14 | Direct | EFIR | 11 | DTASDy | Dy15 | Direct | EFIR | 12 | DTASDy | Dy16 | Direct | EFIR | 13 | DTASDy | Dy17 | Direct | EFIR | 14 | DTASDy | Dy18 | Direct | EFIR | 15 | DTASDy
Group Name | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module | Spec Name | Type | Selection | Channel | Module
Anodes | An01 | Direct | EFIR | 0 | DTASAn | An02 | Direct | EFIR | 1 | DTASAn | An03 | Direct | EFIR | 2 | DTASAn | An04 | Direct | EFIR | 3 | DTASAn | An05 | Direct | EFIR | 4 | DTASAn | An06 | Direct | EFIR | 5 | DTASAn | An07 | Direct | EFIR | 6 | DTASAn | An08 | Direct | EFIR | 7 | DTASAn | An11 | Direct | EFIR | 8 | DTASAn | An12 | Direct | EFIR | 9 | DTASAn | An13 | Direct | EFIR | 10 | DTASAn | An14 | Direct | EFIR | 11 | DTASAn | An15 | Direct | EFIR | 12 | DTASAn | An16 | Direct | EFIR | 13 | DTASAn | An17 | Direct | EFIR | 14 | DTASAn | An18 | Direct | EFIR | 15 | DTASAn